## Sheet1
test | observed_property | fraction | unit | mdl_sc_manual | mdl_lab | mdl_lab_date
WP3D | Total Phosphorus | Total | mg/L |  | 0.004144 | 2019-03-07
WP1W | Soluble Reactive Phosphorus | Dissolved | mg/L | 0.0018 | 0.0051 | 2023-03-03
UREA | Urea | Dissolved | mg/L | 0.07 | 0.0137 | 2019-06-12
NH3K | Ammonia as N | Dissolved | mg/L | 0.005 | 0.013 | 2019-12-12
WNH3 | Ammonia as N | Dissolved | mg/L
WP2D | Particulate Phosphorus | Particulate | mg/L
WNO3 | Nitrate+Nitrite | Dissolved | mg/L | 0.0044 | 0.0073 | 2019-12-12
WALK | Alkalinity | Dissolved | mg/L | 4.68 | 4.2233 | 2019-05-31
SO4K | Sulphate | Dissolved | mg/L | 0.5 | 1.015 | 2019-11-18
SO4Z | Sulphate | Dissolved | mg/L | 0.5 | 1.015 | 2019-11-18
TNAK | Total Nitrogen | Total | mg N/L | 0.0014 | 0.0447 | 2019-03-25